## BWDC
[8 empty] | Range Guard® Wet Chemical Systems | Range Guard® Wet Chemical Systems
[8 empty] | Industry Guard™ Dry Chemical Systems | Industry Guard™ Dry Chemical Systems
[8 empty] | Detection & Control for RG & IG Systems | Detection & Control for RG & IG Systems
| Range Guard, Industry Guard Price Worksheet | [5 empty] | Effective Jun. 19, 2021
[5 empty] | Retail Price: |  |  | 0
|  | Enter Discount Here: | 40% |  | Your Cost: |  |  | 0
|  | *Required Field |  |  | Est. Weight lbs: |  |  | 0 | 0
Enter Quantity | Part Number | Description | Suggested Retail Price (US$) | Lead Time (Days) | Shipping Weight (lb./kg) |  | Hazardous Goods Rating | Retail Price Total | Price After Discount
CYLINDERS & INSTALLATION HARDWARE
WET CHEMICAL CYLINDERS, FACTORY FILLED & PRESSURIZED
| 60-120001-001 | RG-1.25G Cylinder/Valve Assembly, 4 Flow, 1.3 Gallon | 579.7 | 1 day | 30 | 14 | HG | 0 | 0 | 0
| 60-120002-001 | RG-2.5G Cylinder/Valve Assembly, 8 Flow, 2.6 Gallon | 651.2 | 1 day | 56 | 25 | HG | 0 | 0 | 0
| 60-120003-001 | RG-4GS Cylinder/Valve Assembly, 12 Flow, 4 Gallon Short | 796.4 | 1 day | 77 | 35 | HG | 0 | 0 | 0
| 60-120006-001 | RG-4GM Cylinder/Valve Assembly, 12 Flow, 4 Gallon Medium | 796.4 | 1 day | 77 | 35 | HG | 0 | 0 | 0
| 60-120005-001 | RG-6G Cylinder/Valve Assembly, 18 Flow, 6 Gallon | 937.2 | 1 day | 112 | 51 | HG | 0 | 0 | 0
DRY CHEMICAL CYLINDERS, FACTORY FILLED & PRESSURIZED | [9 empty] | 0
| 83-486570-900 | DC-125 Cylinder/Valve Assembly, 25lb BC (B486570) | 679.8 | 1 day | 48 | 22 | HG | 0 | 0 | 0
| 83-486571-900 | DC-150 Cylinder/Valve Assembly, 50lb BC (B486571) | 881.1 | 1 day | 86 | 39 | HG | 0 | 0 | 0
| 83-100019-900 | DC-175 Cylinder/Valve Assembly, 75lb BC (B100019) | 1155 | 1 day | 131 | 59 | HG | 0 | 0 | 0
| 83-486573-900 | DC-121 Cylinder/Valve Assembly, 21lb ABC (B486573) | 869 | 1 day | 44 | 20 | HG | 0 | 0 | 0
| 83-486574-900 | DC-145 Cylinder/Valve Assembly, 45lb ABC (B486574) | 1102.2 | 1 day | 82 | 37 | HG | 0 | 0 | 0
| 83-100018-900 | DC-170 Cylinder/Valve Assembly, 68lb ABC (B100018) | 1518 | 1 day | 128 | 58 | HG | 0 | 0 | 0
CYLINDER INSTALLATION | [9 empty] | 0
| 83-844908-000 | Discharge Adapter Kit (one required for each cylinder) | 34.1 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
| 87-120042-001 | System Valve Actuator (SVA) (one required for each cylinder) | 115.5 | 1 day | 1.5 | 0.7 | – | 0 | 0 | 0
| 83-131024-001 | Gauge Shield | 42.9 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 60-9196984-000 | Vent Plug (WET CHEM ONLY, one required in each piping system) | 19.8 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 87-100010-001 | Floor Mounting Kit for 6 Gallon & 4 Gallon Medium Cylinders (Requires 87-100013-001 Shelf Bracket) | 137.5 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
WET CHEMICAL CYLINDER MOUNTING EQUIPMENT | [9 empty] | 0
| 60-9197430-000 | Wall Bracket, 1.3 Gallon Cylinder | 58.3 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
| 60-9197263-000 | Wall Bracket, 2.6 Gallon Cylinder | 61.6 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
| 60-9197415-000 | Wall Bracket, 4 Gallon Short Cylinder | 118.8 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
| 60-9197414-000 | Wall Bracket, 4 Gallon Medium Cylinder | 118.8 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
| 87-100013-001 | Shelf Bracket, 6 Gallon & 4 Gallon Medium Cylinder (Requires 87-10010-001 for Floor Mount) | 110 | 1 day | 6 | 2.7 | – | 0 | 0 | 0
DRY CHEMICAL CYLINDER MOUNTING EQUIPMENT | [9 empty] | 0
| 82-486487-000 | Wall Bracket, 21lb ABC & 25lb BC Cylinder | 107.8 | 1 day | 5 | 2.3 | – | 0 | 0 | 0
| 82-486488-000 | Wall Bracket, 45lb ABC & 50lb BC Cylinder | 112.2 | 1 day | 6 | 2.7 | – | 0 | 0 | 0
| 87-100009-001 | Wall/Floor Bracket, 70lb ABC & 75lb BC Cylinder (Requires 87-100010-001 for Floor Mount) | 129.8 | 1 day | 10 | 4.5 | – | 0 | 0 | 0
NOZZLES & ACCESSORIES | [9 empty] | 0
WET CHEMICAL NOZZLES & ACCESSORIES | [9 empty] | 0
| 87-120016-001 | ADP (10 pack of 87-120011-001 ADP nozzle) | 520.3 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
| 87-120017-001 | F (10 pack of 87-120012-001 F nozzle) | 520.3 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
| 87-120018-001 | GRW (10 pack of 87-120013-001 GRW nozzle) | 520.3 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
| 87-120019-001 | R (10 pack of 87-120014-001 R nozzle) | 520.3 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
| 87-120020-001 | DM (10 pack of 87-120015-001 DM nozzle)) | 579.7 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
| 87-120023-001 | LPF (10 pack of 87-120022-001 LPF nozzle) | 579.7 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
| 87-120025-001 | LPR (10 pack of 87-120024-001 LPR nozzle) | 698.5 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
| 87-120021-001 | Swivel Adapter, 3/8" (each) | 40.7 | 1 day | 0.3 | 0.1 | – | 0 | 0 | 0
| 60-9197054-000 | Replacement Nozzle Seals (pack of 10) | 62.7 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 60-9197290-000 | Replacement Nozzle Disc Cap - NOT for LPR Nozzle, (pack of 10) | 40.7 | 1 day | 0.2 | 0.1 | – | 0 | 0 | 0
| 87-120026-001 | Replacement LPR Nozzle Disc Cap - LPR Nozzle ONLY (each) | 9.9 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
DRY CHEMICAL NOZZLES & ACCESSORIES | [9 empty] | 0
| 83-100005-001 | Total Flooding (TF) Nozzle | 83.6 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 83-100006-001 | Duct/Plenum (DP) Nozzle | 66 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 83-100037-001 | Three-Way Nozzle (Pit / Tunnel or Plenum / Stack Interface) | 83.6 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 83-844258-000 | Low Overhead Nozzle | 203.5 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 83-259270-000 | High Overhead Nozzle | 158.4 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| WK-259072-000 | Tankside Nozzle | 145.2 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 83-100050-001 | Flow Restrictor, 3/4" NPT, for 2-nozzle in-line vehicle booth systems | 63.8 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 83-100051-001 | Flow Restrictor, 1" NPT, for 4-nozzle in-line vehicle booth systems | 63.8 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 06-250099-067 | Replacement Cap for Total Flooding & Three-Way Nozzles | 13.2 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| WK-264742-000 | Replacement Cap for Duct/Plenum Nozzle | 13.2 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 06-235348-001 | Replacement Cap for Tankside Nozzle | 13.2 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 83-259100-000 | Replacement Cap for Low Overhead & High Overhead Nozzles | 15.4 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
CONTROL EQUIPMENT | [9 empty] | 0
UCH UNIVERSAL CONTROL HEAD (WET & DRY CHEMICAL SYSTEMS) | [9 empty] | 0
| 60-120099-002 | UCH Control System, includes: (1) 87-120042-001 SVA, (1) 87-120043-001 System Cartridge, (1) 87-120044-001 Test Cartridge, (1) 87-120058-001 EMT Connector Kit, (1) 87-120039-001 SPDT Microswitch Kit, (1) 87-120039-501 SPDT Microswitch Kit | 610.5 | 1 day | 9.85 | 4.47 | HG-AIR | 0 | 0 | 0
| 87-120045-001 | High Pressure Hose, 7.5" Length (Required for cylinder mounted control head) | 46.2 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 87-120045-002 | High Pressure Hose, 24" Length | 56.1 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 87-120045-003 | High Pressure Hose, 60" Length | 80.3 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 83-100034-001 | Solenoid Kit (Electric Actuator), 24 VDC | 119.9 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 87-120039-001 | Microswitch Kit, SPDT, solid color pigtails | 31.9 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 87-120039-501 | Microswitch Kit, SPDT, striped color pigtails | 31.9 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 87-120047-001 | Microswitch Kit, SPDT, Terminal Type, Alarm / Release | 35.2 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 87-120058-001 | EMT Connector Kit (EMT Connector & O-Ring, 3 sets) (must be used with Dry Chemical System) | 8.8 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
UCH ACTUATION DELAY (DRY CHEMICAL SYSTEMS ONLY) | [9 empty] | 0
| 83-100035-001 | Actuation Delay (required for Vehicle Paint Booth Systems) Includes (1) 87-100045-001 7.5" High Pressure Hose | 264 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
A+ CONTROL BOX (WET CHEMICAL SYSTEMS ONLY) | [9 empty] | 0
| 60-120010-001 | A+ Control Box Assembly, includes: (1) 87-120042-001 SVA, (2) 06-235557-001 CO2 Cartridges, (2) Set screws, (1) Grommet, (1) Cover Label (1) 60-9197142-000 Exhaust Fan Caution Label | 337.7 | 1 day | 7 | 3.2 | HG-AIR | 0 | 0 | 0
| 60-9197227-000 | Microswitch, SPDT | 55 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-9197228-000 | Microswitch, DPDT | 100.1 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
PRESSURE SWITCHES | [9 empty] | 0
| 60-9197023-000 | Pressure Switch, SPDT (Fire Department Tie-In) | 312.4 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
| 81-486536-000 | Pressure Switch, 3 Pole Double Throw | 429 | 5 days | 3 | 1.4 | – | 0 | 0 | 0
MECHANICAL ACTUATION COMPONENTS | [9 empty] | 0
| 60-120064-001 | Universal Link Detector Housing Kit (UCH or A+) (1) Bracket, (2) Cable Crimp Sleeves, (2) S Hooks | 18.7 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
| WK-804548-000 | Low Profile Link Detector Housing Kit (UCH only), includes: (1) Bracket, (2) 1/2” EMT Connectors (4) Cable Crimp Sleeves, (1) S Hook | 31.9 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
0 | 60-120110-001 | Remote Manual Release, Combination Pull-to-Trip/Release-to-Trip (UCH or A+) | 122.1 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
| WK-875572-900 | Remote Manual Release, Pull-to-Trip (UCH only) | 90.2 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
| WK-844648-900 | Corner Pulley, 1/2” EMT | 14.3 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
| 83-843792-000 | Double Tee Pulley, for cabling 2 RMRs or 2 Mech Gas Valves (UCH only) | 41.8 | 1 day | 0.5 | 0.2 |  | 0 | 0 | 0
| 60-9197602-000 | In-Line Tee Pulley, for In-Line Remote | 26.4 | 1 day | 2.2 | 1 | – | 0 | 0 | 0
| 60-120100-001 | Corner Pulley / Quik-Seal Adapter combination | 49.5 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
| WK-219649-000 | 1/16”Cable 500 ft Roll | 180.4 | 1 day | 4 | 1.8 | – | 0 | 0 | 0
| 60-9177254-000 | Cable Clamp (Keeps cable adjustable) | 11 | 1 day |  |  | – | 0 | 0 | 0
| 60-9197288-000 | Crimp Sleeves (50 pack of 214951) | 31.9 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-9197287-000 | S Hooks (50 pack of 9189413) | 29.7 | 1 day | 0.2 | 0.1 | – | 0 | 0 | 0
| WK-843837-000 | Adapter, 1/2” EMT (F) x 3/8” Pipe (M) | 66 | 5 days | 1 | 0.5 | – | 0 | 0 | 0
| 60-9189412-000 | Pneumatic Release (WET CHEMICAL ONLY) | 327.8 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
| 81-874290-000 | Pressure Operated Release (DRY CHEMICAL ONLY) | 236.5 | 5 days | 1 | 0.5 | – | 0 | 0 | 0
MECHANICAL DETECTION LINKS | [9 empty] | 0
BTBS SERIES THERMO BULB LINKS, STANDARD RESPONSE (PACKAGE OF 5) | [9 empty] | 0
| 87-120091-165-21 | BTBS Std Res Link, 165°F (74°C), Red (5 pack of 87-120090-165) | 33.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120091-212-21 | BTBS Std Res Link, 212°F (100°C), Green (5 pack of 87-120090-212) | 33.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120091-286-21 | BTBS Std Res Link, 286°F (141°C), Blue (5 pack of 87-120090-286) | 33.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120091-360-21 | BTBS Std Res Link, 360°F (182°C), Mauve (5 pack of 87-120090-360) | 33.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120091-450-21 | BTBS Std Res Link, 450°F (232°C), Black (5 pack of 87-120090-450) | 33.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120091-500-21 | BTBS Std Res Link, 500°F (260°C), Black (5 pack of 87-120090-500) | 33.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
BTBR SERIES THERMO BULB LINKS, RAPID RESPONSE (PACKAGE OF 5) | [9 empty] | 0
| 87-120096-165-21 | BTBR Rapid Res Link, 165°F (74°C), Red (5 pack of 87-120095-165) | 66.15 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120096-212-21 | BTBR Rapid Res Link, 212°F (100°C), Green (5 pack of 87-120095-212) | 66.15 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120096-286-21 | BTBR Rapid Res Link, 286°F (141°C), Blue (5 pack of 87-120095-286) | 66.15 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120096-360-21 | BTBR Rapid Res Link, 360°F (182°C), Mauve (5 pack of 87-120095-360) | 66.15 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120096-450-21 | BTBR Rapid Res Link, 450°F (232°C), Black (5 pack of 87-120095-450) | 66.15 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120096-500-21 | BTBR Rapid Res Link, 500°F (260°C), Black (5 pack of 87-120095-500) | 66.15 | 1 day | 0.1 | 0.05 | - | 0 | 0 | 0
TYPE A FUSIBLE LINK (EACH) | [9 empty] | 0
| 87-120060-001-21 | RGA-360 A Link, 360°F (182°C) (each) | 9.45 | 1 day | 0.1 | 0.05 |  | 0 | 0 | 0
TYPE ML FUSIBLE LINKS (EACH) | [9 empty] | 0
| WK-282661-000-21 | ML-165 Link 165°F (74°C), ML Yellow (each) | 7.35 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| WK-282662-000-21 | ML-212 Link 212°F (100°C), ML White (each) | 7.35 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| WK-282664-000-21 | ML-360 Link 360°F (182°C), ML Unpainted (each) | 7.35 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| WK-282666-000-21 | ML-500 Link 500°F (260°C), ML Orange (each) | 13.65 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
GAS VALVES | [9 empty] | 0
MECHANICAL CABLE OPERATED GAS SHUTOFF VALVES | [9 empty] | 0
| 60-120071-001 | 3/4” NPT Mechanical Gas Valve | 288.2 | 1 day | 1.3 | 0.6 | – | 0 | 0 | 0
| 60-120072-001 | 1” NPT Mechanical Gas Valve | 308 | 1 day | 4 | 1.8 | – | 0 | 0 | 0
| 60-120073-001 | 1-1/4” NPT Mechanical Gas Valve | 349.8 | 1 day | 4 | 1.8 | – | 0 | 0 | 0
| 60-120074-001 | 1-1/2” NPT Mechanical Gas Valve | 380.6 | 1 day | 4 | 1.8 | – | 0 | 0 | 0
| 60-120075-001 | 2” NPT Mechanical Gas Valve | 403.7 | 1 day | 5.5 | 2.5 | – | 0 | 0 | 0
| 60-120076-001 | 2-1/2” NPT Mechanical Gas Valve | 685.3 | 1 day | 12 | 5 | – | 0 | 0 | 0
| 60-120077-001 | 3" NPT Mechanical Gas Valve | 761.2 | CALL | 12 | 5 | – | 0 | 0 | 0
| 87-100014-001 | Replacement Cable Block & Set Screw Assembly for Gas Valves | 31.9 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
ELECTRIC SOLENOID GAS SHUTOFF VALVES (120 VAC) | [9 empty] | 0
| 60-9197017-000 | 1/2" Electric Gas Valve | 298.1 | CALL | 2.3 | 1 | – | 0 | 0 | 0
| 60-9197018-000 | 3/4" Electric Gas Valve | 298.1 | 1 day | 5 | 2.3 | – | 0 | 0 | 0
| 60-9197019-000 | 1" Electric Gas Valve | 469.7 | 1 day | 5 | 2.3 | – | 0 | 0 | 0
| 60-9197020-000 | 1-1/4" Electric Gas Valve | 489.5 | 1 day | 5 | 2.3 | – | 0 | 0 | 0
| 60-9197021-000 | 1-1/2" Electric Gas Valve | 562.1 | 1 day | 5 | 2.3 | – | 0 | 0 | 0
| 60-9197022-000 | 2" Electric Gas Valve | 728.2 | 1 day | 6.5 | 2.9 | – | 0 | 0 | 0
| 60-9197444-000 | 2-1/2"Electric Gas Valve | 1218.8 | CALL | 14 | 6 | – | 0 | 0 | 0
| 60-9197445-000 | 3" Electric Gas Valve | 1542.2 | CALL | 14 | 6 | – | 0 | 0 | 0
| 60-9101735-000 | Manual Reset Relay (required with any electrical gas valve) | 292.6 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
LIQUID TIGHT SEALING ADAPTERS | [9 empty] | 0
COMPRESSION SEAL ADAPTERS | [9 empty] | 0
| WK-265046-010 | Compression-Seal Adapter - 3/8” Tubing, 26504601 | 30.8 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| WK-265046-020 | Compression-Seal Adapter - 1/2” Tubing / 1/4” Pipe, 26504602 | 29.7 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| WK-265046-030 | Compression-Seal Adapter - 5/8” Tubing / 3/8” Pipe, 26504603 | 34.1 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 83-265046-050 | Compression-Seal Adapter - 3/4” Tubing / 1/2” Pipe, 26504605 | 40.7 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| WK-265046-040 | Compression-Seal Adapter - 1/2” EMT, 26504604 | 34.1 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
QUIK-SEAL™ ADAPTERS | [9 empty] | 0
| WK-264993-010 | Quik-Seal Adapter - 3/8” NPT Female, 26499301 | 29.7 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| WK-264993-020 | Quik-Seal Adapter - 1/2” NPT Female, 26499302 | 29.7 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| WK-264993-030 | Quik-Seal Adapter - 3/4” NPT Female, 26499303 | 47.3 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| WK-264993-040 | Quik-Seal Adapter - 1” NPT Female, 26499304 | 61.6 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| WK-264993-050 | Quik-Patch™ (for Hole Patches up to 1-1/8” Diameter), 26499305 | 29.7 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
DRY CHEMICAL RESERVE SYSTEM HARDWARE | [9 empty] | 0
| 83-896516-000 | Two-Way Transfer Tee, 1” NPT | 330 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
| 84-802398-000 | Main/Reserve Electric Transfer Switch, 802398 | 407 | 5 days | 3 | 1.4 | – | 0 | 0 | 0
| WK-310330-000 | Nameplate, “Main” | 45.1 | 5 days | 1 | 0.5 | – | 0 | 0 | 0
| WK-310340-000 | Nameplate, “Reserve” | 45.1 | 5 days | 1 | 0.5 | – | 0 | 0 | 0
SYSTEM MAINTENANCE & RECHARGE | [9 empty] | 0
WET & DRY CHEMICAL CYLINDER VALVES - COMMON REPLACEMENT PARTS | [9 empty] | 0
| 87-120067-001 | Rebuild Kit - Wet & Dry Chemical Cylinder Valves, includes: (1) Valve Stem (877343) with O-Ring (6435006) (1) Valve Spring (217768), (1) Valve Spring Retainer (253299) (1) Retaining Ring Check (18490004) (1) O-Ring, Valve to Cylinder (56610327) (Parts not sold separately) | 105.6 | 1 day | 0.2 | 0.1 | – | 0 | 0 | 0
| WK-255096-000 | Valve Protection Plate (for Valve Actuation Port) | 9.9 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| WK-255681-000 | Anti-Recoil Plate (for Valve Outlet) | 8.8 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| WK-108019-000 | O-Ring for Discharge Adapter Kit (minimum order qty of 10) | 2.2 | 3 days | 1 | 0.5 | – | 0 | 0 | 0
WET CHEMICAL CYLINDER & VALVE MAINTENTANCE | [9 empty] | 0
| 87-120009-001 | Complete Valve Assembly for Range Guard Cylinders | 281.6 | 1 day | 2.2 | 1 | – | 0 | 0 | 0
| 06-118031-001 | Replacement Pressure Gauge for Range Cylinder Valve | 69.3 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120068-001 | Solid Plug, Replaces Fusible Plug on all Wet Chemical Valves ONLY | 13.2 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 06-235542-001 | Siphon Tube for 1.3 Gallon Cylinder | 48.4 | 1 day | 0.7 | 0.3 | – | 0 | 0 | 0
| 06-235543-001 | Siphon Tube for 2.6 Gallon Cylinder | 48.4 | 1 day | 0.9 | 0.4 | – | 0 | 0 | 0
| 06-235544-001 | Siphon Tube for 4 Gallon Short Cylinder | 48.4 | 1 day | 0.8 | 0.4 | – | 0 | 0 | 0
| 06-236273-001 | Siphon Tube for 4 Gallon Medium Cylinder | 48.4 | 1 day | 1.3 | 0.6 | – | 0 | 0 | 0
| 06-235546-001 | Siphon Tube for 6 Gallon Cylinder | 48.4 | 1 day | 1.5 | 0.7 | – | 0 | 0 | 0
| 06-231867-202 | Replacement Label for All Range Guard Cylinders (non UL) | 51.7 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
DRY CHEMICAL CYLINDER & VALVE MAINTENTANCE | [9 empty] | 0
| 83-878767-000 | Complete Valve Assembly for Industry Guard Cylinders | 275 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
| WK-283951-000 | Replacement Pressure Gauge for Industry Guard Cylinder Valve | 40.7 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 06-237437-000 | Brass Fusible Plug, 120°F max operating temp, 212°F melt rating, for IG Valves ONLY | 72.6 | 5 days | 0.1 | 0.05 | – | 0 | 0 | 0
| WK-265018-000 | Siphon Tube for 21lb ABC & 25lb BC Cylinders | 110 | 1 day | 2 | 0.9 | – | 0 | 0 | 0
| WK-265019-000 | Siphon Tube for 45lb ABC & 50lb BC Cylinders | 110 | 1 day | 3 | 1.4 | – | 0 | 0 | 0
| 06-235504-001 | Siphon Tube for 70lb ABC & 75lb BC Cylinders | 110 | 1 day | 4 | 1.8 | – | 0 | 0 | 0
REPLACEMENT CYLINDER STRAPS | [9 empty] | 0
| WK-255700-000 | Replacement Bracket Strap for: 1.3 & 2.6 Gallon Wet Chemical Cylinders; 21lb, 25lb, 45lb, 50lb Dry Chemical Cylinders | 14.3 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
| 06-117989-001 | Replacement Bracket Strap for: 4 & 6 Gallon Wet Chemical Cylinders; 70lb & 75lb Dry Chemical Cylinders | 15.4 | 1 day | 0.5 | 0.2 | – | 0 | 0 | 0
UNIVERSAL CONTROL HEAD MAINTENANCE | [9 empty] | 0
| 87-120043-001 | Nitrogen System Cartridge (UCH) | 42.9 | 1 day | 0.5 | 0.2 | HG-AIR | 0 | 0 | 0
| 87-120044-001 | Nitrogen Test Cartridge (UCH) (not for use with Actuation Delay, Full Discharge or Puff tests) | 26.4 | 1 day | 0.5 | 0.2 | HG-AIR | 0 | 0 | 0
| 60-9197108-000 | Keeper Pin (UCH and A+) | 18.7 | 1 day |  |  | – | 0 | 0 | 0
| 87-120071-001 | Flat Gasket for UCH Valve Body (25 pack of 06-236204-001) | 25.3 | 5 days | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-1419239-000 | O-Ring for UCH or A+ Piercing Pin | 6.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120070-001 | Piercing Pin w/O-Ring for UCH Valve Body (10 pack) | 150.7 | 5 days | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120046-002 | UCH Valve Body Rebuild Kit, Includes: (1) Flat Gasket, (1) UCH Piercing Pin with O-Ring, (1) Retaining Ring, (1) Pin/Gasket Service Label | 89.1 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-120072-001 | UCH Valve Body Update Kit, Includes: (1) Cam, (1) Flat Gasket, (1) UCH Piercing Pin with O-Ring, (1) Retaining Ring, (1) Upgrade Label | 116.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-120048-001 | UCH Replacement Cover & Handle Assembly | 138.6 | 5 days | 3 | 1.4 | – | 0 | 0 | 0
| 87-100015-001 | UCH Lockout Screw, 25 pack | 24.2 | 1 day |  |  | – | 0 | 0 | 0
UCH ACTUATION DELAY MAINTENANCE | [9 empty] | 0
| 83-100038-001 | Rebuild Kit for Actuation Delay | 55 | 1 day | 0.5 | 0.2 |  | 0 | 0 | 0
A+ CONTROL BOX MAINTENANCE | [9 empty] | 0
| 06-235557-001 | CO2 System/Test Cartridge (A+) | 9.9 | 1 day | 0.4 | 0.2 | HG-AIR | 0 | 0 | 0
| 60-9197108-000 | Keeper Pin (UCH and A+) | 18.7 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-197214-000 | Flat Gasket for A+ Valve Body (25 pack) | 25.3 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-1419239-000 | O-Ring for UCH or A+ Piercing Pin | 6.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-197215-000 | Piercing Pin w/O-Ring for A+ Valve Body (10 pack) | 150.7 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-9197210-000 | Valve Body Sub-assembly (A+), Includes (assembled): (1) Lever, (1) Valve Body, (1) Flat Gasket, (1) Piercing Pin, (1) O-Ring | 74.8 | 5 days | 1.5 | 0.7 |  | 0 | 0 | 0
| 60-9197202-000 | Spring (A+) | 18.7 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-9197220-000 | Cable Tension Block Assembly (A+) | 30.8 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 87-100016-001 | A+ Set Screw, 25 pack | 24.2 | 1 day |  |  | – | 0 | 0 | 0
WET CHEMICAL RECHARGE CONTAINERS | [9 empty] | 0
| 87-120030-001 | RG-1.25G Karbaloy Wet Chemical Recharge | 158.4 | 1 day | 13 | 6 | – | 0 | 0 | 0
| 87-120031-001 | RG-2.5G Karbaloy Wet Chemical Recharge | 207.9 | 1 day | 30 | 14 | – | 0 | 0 | 0
| 87-120032-001 | RG-4GS & RG-4GM Karbaloy Wet Chemical Recharge | 283.8 | 1 day | 52 | 24 | – | 0 | 0 | 0
| 87-120033-001 | RG-6G Karbaloy Wet Chemical Recharge | 366.3 | 1 day | 77 | 35 | – | 0 | 0 | 0
DRY CHEMICAL RECHARGE CONTAINERS | [9 empty] | 0
| WK-804904-000 | Regular BCM Dry Chemical (BC) - 50lb Pail (for DC-125/150/175) | 115.5 | 1 day | 55 | 25 | – | 0 | 0 | 0
| WK-806411-000 | Multipurpose Dry Chemical (ABC) - 50lb Pail (for DC-121/145/170) | 416.9 | 1 day | 55 | 25 | – | 0 | 0 | 0
RECHARGE & TEST ACCESSORIES | [9 empty] | 0
| 83-279262-000 | Recharge Adapter | 179.3 | 5 days | 2 | 0.9 | – | 0 | 0 | 0
| 83-878453-000 | Hydrostatic Test Adapter | 137.5 | 5 days | 2 | 0.9 | – | 0 | 0 | 0
| 60-9197090-000 | 3/8" Outlet Flushing Adapter | 46.2 | 5 days | 0.1 | 0.05 | – | 0 | 0 | 0
DECALS | [9 empty] | 0
| WK-261154-900 | Remote Manual Release Decal, English/French/Spanish | 6.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 60-9197142-000 | Exhaust Fan Caution Decal, English | 6.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 06-231866-843 | Exhaust Fan Caution Decal, French | 8.8 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| 06-231866-844 | Exhaust Fan Caution Decal, Spanish | 8.8 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
TOOLS | [9 empty] | 0
| WK-253538-000 | Positive Action Crimp Tool | 542.85 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
MANUALS | [9 empty] | 0
| 60-9127100-000 | Range Guard Design, Installation, Operation & Maintenance Manual | Download from Badger Extranet | [6 empty] | 0
| 60-120040-001 | Range Guard Wet Chemical System Owner's Manual | Download from Badger Extranet | [6 empty] | 0
| 60-900000-001 | Badger Industrial Dry Chemical Fire Suppression System Design, Installation, Operation & Maintenance Manual | Download from Badger Extranet | [6 empty] | 0
| 60-900007-001 | Badger Industry Guard Dry Chemical for Vehicle Spray Booths Design, Installation, Operation & Maintenance Manual | Download from Badger Extranet | [6 empty] | 0
| 60-900001-001 | Badger Industry Guard Dry Chemical System Owner's Manual | Download from Badger Extranet | [6 empty] | 0
PRESSURE OPERATED RELEASING SYSTEM MAINTENANCE | [9 empty] | 0
| 82-486487-000 | BMCS-7 Wall Bracket | 107.8 | 1 day | 5 | 2.3 | – | 0 | 0 | 0
| 83-844921-000 | BMCS-7 Discharge Adapter Kit | 189.2 | 1 day | 1 | 0.5 | – | 0 | 0 | 0
| WK-259404-000 | Check Valve | 196.9 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| WK-877810-000 | Vent Check | 52.8 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
| WF-263413-000 | Replacement Receiver Gasket for BMCS-1 | 6.6 | 1 day | 0.1 | 0.05 | – | 0 | 0 | 0
DETECTION & ALARM CONTROL UNITS | [9 empty] | 0
NEW CONTROL UNITS - AEGIS™ 2.0 SINGLE HAZARD AGENT RELEASING CONTROL UNITS | [9 empty] | 0
| 84-732001-901 | Kidde AEGIS 2.0 Control Unit. Red NEMA 1 Enclosure, 120/240 V, 50/60 Hz AC Input. With 7 Initiating, 3 Notification, 2 Release Circuits & 4 Relays. Order In-Line Releasing-Circuit Device(s), 06-220023-001 separately. Replaces Kidde 84-732001-001 | 1290.45 | 5 days | 21 | 10 | – | 0 | 0 | 0
| 84-732001-902 | Kidde AEGIS 2.0 Control Unit. Red NEMA 1 Enclosure with door mounted Release and Abort Switches, 120/240 V, 50/60 Hz AC Input With 7 Initiating, 3 Notification, 2 Release Circuits & 4 Relays. Order In-Line Releasing-Circuit Device(s), 06-220023-001, separately. Replaces Kidde 84-732001-201 | 1585.5 | 5 days | 22 | 10 | – | 0 | 0 | 0
ACESSORIES and SPARE PARTS FOR AEGIS™ 2.0 AND AEGIS CONVENTIONAL CONTROL UNITS | [9 empty] | 0
| 06-220175-001 | Kidde AEGIS Dead-Front Plate. Mounts inside the Control Unit enclosure and is ordered separately. Required for ULC S527-99 compliant applications. | 153.3 | 5 days | 4 | 1.8 | – | 0 | 0 | 0
| 06-220023-001 | In-Line Releasing-Circuit Device (Class B wiring, one required for each solenoid on power limited release circuits, for short-circuit supervision) | 25.2 | 5 days | 0.3 | 0.1 | – | 0 | 0 | 0
| 76-600000-007 | Trim Ring for AEGIS 2.0/AEGIS Control Units | 244.65 | 5 days | 4 | 1.8 | – | 0 | 0 | 0
| 06-220150-901 | Kidde AEGIS 2.0 Spare Circuit Board | 822.15 | 5 days | 4 | 1.8 | – | 0 | 0 | 0
| 06-220172-902 | Kidde AEGIS 2.0 Spare Enclosure (Red) | 541.8 | 5 days | 24 | 11 | – | 0 | 0 | 0
| 06-220174-902 | Kidde AEGIS 2.0 Spare Enclosure w/ Release & Abort Switches (Red) | 541.8 | 5 days | 24 | 11 | – | 0 | 0 | 0
| 06-220149-001 | Kidde AEGIS 2.0/AEGIS Spare Hardware Installation Kit (order as spare or replacement of 06-220147-001) | 141.75 | 5 days | 1 | 0.5 | – | 0 | 0 | 0
| 06-220150-001 | Kidde AEGIS Spare Circuit Board | 822.15 | 5 days | 4 | 1.8 | – | 0 | 0 | 0
| 06-118394-002 | Kidde ARIES 2.0/AEGIS Power Supply Assembly | 229.95 | 5 days | 2 | 0.9 | – | 0 | 0 | 0
| 06-220151-001 | Kidde ARIES 2.0/AEGIS Spare Bezel Assembly | 63 | 5 days | 0.3 | 0.1 | – | 0 | 0 | 0
| 06-220176-001 | Kidde AEGIS 2.0/AEGIS Spare Switch Kit (replaces 06-220169-001) | 157.5 | 5 days | 1 | 0.5 | – | 0 | 0 | 0
| 06-129924-001 | Kidde Panels - Spare Lock w/ 2 Keys | 33.6 | 5 days | 0.2 | 0.1 | – | 0 | 0 | 0
| 06-220184-001 | Kidde AEGIS 2.0/AEGIS 10pk EOL Resistors | 96.6 | 10 days |  |  |  | 0 | 0 | 0
BATTERIES | [9 empty] | 0
| 06-115915-013 | 7 AH, 12 VDC Sealed Lead Acid Battery | 150.15 | 5 days | 5.5 | 2.5 | – | 0 | 0 | 0
| 06-115915-046 | 17 AH, 12 VDC Sealed Lead Acid Battery | 235.2 | 5 days | 14.8 | 7 | – | 0 | 0 | 0
| 06-115915-047 | 12 AH, 12 VDC Sealed Lead Acid Battery | 158.55 | 3 days | 9.4 | 4.3 | – | 0 | 0 | 0
| 89-100052-001 | 33 AH, 12 VDC Sealed Lead Acid Battery | 304.5 | 5 days | 26 | 12 | – | 0 | 0 | 0
| 76-100010-001 | Battery Enclosure | 635.25 | 5 days | 19.3 | 9 | – | 0 | 0 | 0
ELECTRICAL COMPONENTS | [9 empty] | 0
SERIES 3300 MANUAL STATIONS | [9 empty] | 0
| 84-330001-001 | Kidde 3300 Conventional Dual Action Pull Station w/ toggle activated SPST Switch. Includes Label options (Kidde-Fire Alarm / Fire System Release / HALON 1301 Release / FM-200 Release / FE-13 Release / CO2 Release / Novec 1230 Release), Mounting Hardware | 115.5 | 3 days | 1.3 | 0.6 | – | 0 | 0 | 0
| 84-330001-002 | Kidde 3300 Conventional Dual Action Pull Station w/ toggle activated DPST Switch. Includes Label options (Kidde-Fire Alarm / Fire System Release / HALON 1301 Release / FM-200 Release / FE-13 Release / CO2 Release / Novec 1230 Release), Mounting Hardware | 135.45 | 3 days | 1.3 | 0.6 | – | 0 | 0 | 0
| 84-100008-002 | Kidde 3300 Break Rod, Package of 12 | 15.75 | 5 days | 0.1 | 0.05 | – | 0 | 0 | 0
| 84-100009-001 | Kidde 3300 SGB-32S Indoor Surface Back Box, Red | 34.65 | 5 days | 0.8 | 0.4 | – | 0 | 0 | 0
| 84-100009-002 | Kidde 3300 SGB-32C Outdoor Weatherproof Surface Back Box, Red | 204.75 | 5 days | 0.9 | 0.4 | – | 0 | 0 | 0
| 06-231866-930 | Spare Label Set for Pull Station Series 3300 | 57.75 | 5 days | 0.2 | 0.1 | – | 0 | 0 | 0
| 06-118013-001 | Spare Key | 15.75 | 5 days | 0.1 | 0.05 | – | 0 | 0 | 0
SERIES B-9 ExP MANUAL STATIONS | [9 empty] | 0
| 84-100004-001 | Kidde B-9 Single Action Explosion Proof Manual Station with DPDT contacts. Surface back box provided. Order Lift & Pull Cover separately. | 1287.3 | 5 days | 3.5 | 1.6 | – | 0 | 0 | 0
| 84-100000-003 | Kidde B-9 Lift & Pull Cover with “ Fire System Release” lettering | 28.35 | 5 days | 0.4 | 0.2 | – | 0 | 0 | 0
| 84-100005-001 | Kidde B-9 Break Rods (10 pkg.). Not included with Pull Stations. | 42 | 5 days | 0.2 | 0.1 | – | 0 | 0 | 0
NOTIFICATION APPLIANCE CIRCUIT DEVICES | [9 empty] | 0
SERIES MT MULTITONE HORN & HORN-STROBES | [9 empty] | 0
| MT-24MCW-FR | Eaton Wheelock MT-24MCW-FR Multi Tone-Multi Candela Strobe 24 VDC 15/30/75/110 cd (FIRE), Wall mount, Red, Sync/Non-Sync. Replaces 75-000015-001. | 147 | 3 days | 0.75 | 0.3 | – | 0 | 0 | 0
| MT-24MCW-AR | Eaton Wheelock MT-24MCW-AR Multi Tone-Multi Candela Strobe 24 VDC 15/30/75/110 cd (AGENT), Wall mount, Red, Sync/Non-Sync. Replaces 75-000015-002. | 157.5 | 3 days | 0.75 | 0.3 | – | 0 | 0 | 0
NOTIFICATION APPLIANCE MOUNTING HARDWARE | [9 empty] | 0
| IOB-R | Eaton Wheelock IOB-R Indoor/Outdoor Surface Back box Use for: MT, MTWP, ET70WP, 70030426, 70030456. (Replaces 75-000000-001) | 28.35 | 5 days | 0.75 | 0.3 | – | 0 | 0 | 0
BELLS - SERIES MBA, MB and 43T | [9 empty] | 0
| MBA-6-24 | Potter Vibrating Bell 24VDC 6-inch | 95.55 | 5 days | 1.4 | 0.6 | – | 0 | 0 | 0
| MBA-10-24 | Potter Vibrating Bell 24VDC 10-inch | 126 | 5 days | 2.6 | 1.2 | – | 0 | 0 | 0
| MB-G6-24-R | Eaton Wheelock Series MB Motor Bell, 24VDC 6-inch | 137.55 | 5 days |  |  | – | 0 | 0 | 0
| MB-G10-24-R | Eaton Wheelock Series MB Motor Bell, 24VDC 10-inch | 164.85 | 5 days |  |  | – | 0 | 0 | 0
| 439D-6AW-R | Edwards 439D-6AW-R Vibrating Bell 24 VDC, 6-inch | 110.25 | 5 days | 2.9 | 1.3 | – | 0 | 0 | 0
| 439D-10AW-R | Edwards 439D-10AW-R Vibrating Bell 24 VDC, 10-inch | 183.75 | 5 days | 4.9 | 2.2 | – | 0 | 0 | 0
| 43T-G10-115-R | Eaton Wheelock 43T-G10-115-R Vibrating Bell 115 VAC, 10-inch (Replaces 75-000031-001) | 183.75 | 5 days | 4 | 1.8 | – | 0 | 0 | 0
SERIES CVX / CSX EXPLOSION PROOF BELLS | [9 empty] | 0
| CVX10-115-R | Eaton Wheelock Series CVX10-115-R Vibrating Bell 115 VAC, 10-inch, Indoor (Replaces 75-000040-001) | 1890 | 20 days | 18 | 8 | – | 0 | 0 | 0
| CVXG10-115-R | Eaton Wheelock Series CVXG10-115-R Vibrating Bell 115 VAC, 10-inch, Outdoor (Replaces 75-000040-002) | 3360 | 20 days | 23 | 10 | – | 0 | 0 | 0
| CSX10-115-R | Eaton Wheelock Series CSX10-115-R Single Stroke Bell 115 VAC, 10-inch, Indoor (Replaces 75-000040-003) | 1569.75 | 20 days | 18 | 8 | – | 0 | 0 | 0
| CSX10-24-R | Eaton Wheelock Series CSX10-24-R Single Stroke Bell 24 VDC, 10-inch, Indoor (Replaces 75-000040-005) | 1884.75 | 3 days | 18 | 8 | – | 0 | 0 | 0
| CSXG10-24-R | Eaton Wheelock Series CSXG10-24-R Single Stroke Bell 24 VDC, 10-inch, Outdoor (Replaces 75-000040-006) | 3354.75 | 20 days | 23 | 10 | – | 0 | 0 | 0
DETECT-A-FIRE® (DAF) HEAT DETECTORS | [9 empty] | 0
Vertical DAF Units, Brass Head, Normally Open Contacts | [9 empty] | 0
| 12-E27121-000-02-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 140° F | 252.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27121-000-03-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 160° F | 252.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27121-000-04-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 190° F | 252.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27121-000-06-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 210° F | 252.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27121-000-05-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 225° F | 252.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27121-000-10-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 275° F | 263.45 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27121-000-06-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 325° F | 263.45 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27121-000-07-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 360° F | 263.45 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-G27121-000-07-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 450° F | 273.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-G27121-000-08-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 500° F | 273.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-H27121-000-08-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 600° F | 286.65 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-H27121-000-09-0T | Model 27121-0, Vertical Mount, Brass Hex Head, 725° F | 286.65 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
Vertical DAF Units, Brass Hex Head, Normally Closed Contacts | [9 empty] | 0
| 12-E27120-000-02-0T | Model 27120-0, Vertical Mount, Brass Hex Head, 140° F (NORMALLY CLOSED) | 252.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27120-000-03-0T | Model 27120-0, Vertical Mount, Brass Hex Head, 160° F (NORMALLY CLOSED) | 252.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27120-000-04-0T | Model 27120-0, Vertical Mount, Brass Hex Head, 190° F (NORMALLY CLOSED) | 252.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27120-000-0T (210F) | Model 27120-0, Vertical Mount, Brass Hex Head, 210° F (non stock item) (NORMALLY CLOSED) | 252.32 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27120-000-05-0T | Model 27120-0, Vertical Mount, Brass Hex Head, 225° F (NORMALLY CLOSED) | 252.32 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27120-000-0T (275F) | Model 27120-0, Vertical Mount, Brass Hex Head, 275° F (non stock item) (NORMALLY CLOSED) | 263.45 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27120-000-06-0T | Model 27120-0, Vertical Mount, Brass Hex Head, 325° F (NORMALLY CLOSED) | 263.45 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27120-000-0T (360F) | Model 27120-0, Vertical Mount, Brass Hex Head, 360° F (non stock item) (NORMALLY CLOSED) | 263.45 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-G27120-000-0T (450F) | Model 27120-0, Vertical Mount, Brass Hex Head, 450° F (non stock item) (NORMALLY CLOSED) | 273.32 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
Vertical DAF Units, Stainless Steel Hex Head, Normally Open Contacts | [9 empty] | 0
| 12-E27121-020-02-0T | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 140° F | 319.83 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27121-020-03-0T | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 160° F | 319.83 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27121-020-04-0T | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 190° F | 319.83 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27121-020-0T (210F) | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 210° F (non stock item) | 319.83 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27121-020-05-0T | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 225° F | 319.83 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27121-020-06-0T | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 325° F | 329.81 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27121-020-10-0T | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 275° F | 329.81 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27121-020-0T (360F) | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 360° F (non stock item) | 329.81 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-G27121-020-07-0T | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 450° F | 340.83 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-G27121-020-0T (500F) | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 500° F (non stock item) | 340.83 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-H27121-020-08-0T | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 600° F | 359.73 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-H27121-020-0T (725F) | Model 27121-20, Vertical Mount, Stainless Steel Hex Head, 725° F (non stock item) | 359.73 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
Vertical DAF Units, Stainless Steel Hex Head, Normally Closed Contacts | [9 empty] | 0
| 12-E27120-022-02-0T | Model 27120-22, Vertical Mount, Stainless Steel Hex Head, 140° F | 319.83 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27120-022-0T (160F) | Model 27120-22, Vertical Mount, Stainless Steel Hex Head, 160° F (non stock item) | 319.83 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27120-022-04-0T | Model 27120-22, Vertical Mount, Stainless Steel Hex Head, 190° F | 319.83 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27120-022-0T (210F) | Model 27120-22, Vertical Mount, Stainless Steel Hex Head, 210° F (non stock item) | 319.83 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E27120-022-05-0T | Model 27120-22, Vertical Mount, Stainless Steel Hex Head, 225° F | 319.83 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27120-022-0T (275F) | Model 27120-22, Vertical Mount, Stainless Steel Hex Head, 275° F (non stock item) | 329.81 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27120-022-0T (325F) | Model 27120-22, Vertical Mount, Stainless Steel Hex Head, 325° F (non stock item) | 329.81 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F27120-022-0T (360F) | Model 27120-22, Vertical Mount, Stainless Steel Hex Head, 360° F (non stock item) | 329.81 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-G27120-022-0T (450F) | Model 27120-22, Vertical Mount, Stainless Steel Hex Head, 450° F (non stock item) | 340.83 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
Vertical DAF Units, Coupling Head Models, Normally Open Contacts | [9 empty] | 0
| 12-E28021-005-0T (140F) | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 140° F (non stock item) | 335.37 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E28021-005-0T (160F) | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 160° F (non stock item) | 335.37 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E28021-005-04-0T | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 190° F | 335.37 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E28021-005-0T (210F) | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 210° F (non stock item) | 335.37 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E28021-005-05-0T | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 225° F | 335.37 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F28021-005-0T (275F) | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 275° F (non stock item) | 350.81 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F28021-005-06-0T | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 325° F | 350.81 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F28021-005-07-0T | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 360° F | 350.81 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-G28021-005-07-0T | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 450° F | 361.94 | 2 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-G28021-005-0T (500F) | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 500° F (non stock item) | 361.94 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-H28021-005-0T (600F) | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 600° F (non stock item) | 376.32 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-H28021-005-0T (725F) | Model 28021-5, Vertical Mount, Stainless Steel Coupling Head, 725° F (non stock item) | 376.32 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
Vertical DAF Units, Coupling Head Models, Normally Closed Contacts | [9 empty] | 0
| 12-E28020-003-0T (140F) | Model 28020-3, Vertical Mount, Stainless Steel Coupling Head, 140° F (non stock item) | 335.37 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E28020-003-0T (160F) | Model 28020-3, Vertical Mount, Stainless Steel Coupling Head, 160° F (non stock item) | 335.37 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E28020-003-0T (190F) | Model 28020-3, Vertical Mount, Stainless Steel Coupling Head, 190° F (non stock item) | 335.37 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E28020-003-0T (210F) | Model 28020-3, Vertical Mount, Stainless Steel Coupling Head, 210° F (non stock item) | 335.37 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-E28020-003-0T (225F) | Model 28020-3, Vertical Mount, Stainless Steel Coupling Head, 225° F (non stock item) | 335.37 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F28020-003-0T (275F) | Model 28020-3, Vertical Mount, Stainless Steel Coupling Head, 275° F (non stock item) | 350.81 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F28020-003-0T (325F) | Model 28020-3, Vertical Mount, Stainless Steel Coupling Head, 325° F (non stock item) | 350.81 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-F28020-003-0T (360F) | Model 28020-3, Vertical Mount, Stainless Steel Coupling Head, 360° F (non stock item) | 350.81 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
| 12-G28020-003-0T (450F) | Model 28020-3, Vertical Mount, Stainless Steel Coupling Head, 450° F (non stock item) | 361.94 | 10 days | 0.5 | 0.2 | – | 0 | 0 | 0
Explosion Proof Junction Box for Vertical Mount DAF
| 06-116317-001 | Explosion proof junction box for use with 27120, 27121, 28020 and 28021 Detect-A-Fire Units, Class I Groups A, B, C, D; Class II Groups E, F, G; and Class III. With a 1/2” threaded hub for the Detect-A-Fire Unit and two 3/4” threaded conduit hubs. | 339.15 | 10 days |  |  | – | 0 | 0
Free